## All Categories
Interior Water Conservation Measures and Associated Savings
User Category | Fixture |  | Assumed Year of Manufacture for Non-efficient Fixture | Assumed Non-efficient Water Use Ratea |  | Water Efficient Use Rate |  | Water Savings per Device |  | Assumed Frequency of Daily Use |  |  |  | Estimated Water Savings per Person (gpd) |  | Estimated Water Savings per CII facility (gpd) | Estimated Daily Water Savings per Householdb (gpd) | Estimated Annual Water Savings per Householdb (gal/yr) | Estimated Annual Water Savings per Male CII Employeec (gal/yr) | Estimated Annual Water Savings per Female CII Employeec (gal/yr) | Estimated Annual Water Savings per CII facility (gal/yr) | Reference
| Non-efficient | Efficent | [7 empty] | per Male |  | per Female |  | per Male | per Female
Residential | Toilet | ULFT | 1980-1994 | 3.5 | gpf | 1.6 | gpf | 1.9 | gpf | 5.1 | times | 5.1 | times | 9.69 | 9.69 |  | 25.5816 | 9337.284 |  |  |  | Vickers, Amy. Handbook of Water Conservation.
Residential | Toilet | ULFT | 1950-1980 | 5 | gpf | 1.6 | gpf | 3.4 | gpf | 5.1 | times | 5.1 | times | 17.34 | 17.34 |  | 45.7776 | 16708.824 |  |  |  | Vickers, Amy. Handbook of Water Conservation.
Residential | Toilet | HET | 1980-1994 | 3.5 | gpf | 1.28 | gpf | 2.22 | gpf | 5.1 | times | 5.1 | times | 11.322 | 11.322 |  | 29.8901 | 10909.8792 |  |  |  | Vickers, Amy. Handbook of Water Conservation.
Residential | Toilet | HET | 1950-1980 | 5 | gpf | 1.28 | gpf | 3.72 | gpf | 5.1 | times | 5.1 | times | 18.972 | 18.972 |  | 50.0861 | 18281.4192 |  |  |  | Vickers, Amy. Handbook of Water Conservation.
CII | Toilet | ULFT | 1980-1994 | 3.5 | gpf | 1.6 | gpf | 1.9 | gpf | 1 | times | 3 | times | 1.9 | 5.7 |  |  |  | 532 | 1596 |  | Vickers, Amy. Handbook of Water Conservation.
CII | Toilet | ULFT | 1950-1980 | 5 | gpf | 1.6 | gpf | 3.4 | gpf | 1 | times | 3 | times | 3.4 | 10.2 |  |  |  | 952 | 2856 |  | Vickers, Amy. Handbook of Water Conservation.
CII | Toilet | HET | 1980-1994 | 3.5 | gpf | 1.28 | gpf | 2.22 | gpf | 1 | times | 3 | times | 2.22 | 6.66 |  |  |  | 621.6 | 1864.8 |  | Vickers, Amy. Handbook of Water Conservation.
CII | Toilet | HET | 1950-1980 | 5 | gpf | 1.28 | gpf | 3.72 | gpf | 1 | times | 3 | times | 3.72 | 11.16 |  |  |  | 1041.6 | 3124.8 |  | Vickers, Amy. Handbook of Water Conservation.
CII | Urinal | HET urinal - 0.5 gpf | 1980-1994 | 1.5 | gpf | 0.5 | gpf | 1 | gpf | 2 | times |  |  | 2 |  |  |  |  | 560 |  |  | Vickers, Amy. Handbook of Water Conservation.
CII | Urinal | HET urinal - 0.5 gpf | Pre-1980 | 5 | gpf | 0 | gpf | 5 | gpf | 2 | times |  |  | 10 |  |  |  |  | 2800 |  |  | Vickers, Amy. Handbook of Water Conservation.
CII | Urinal | HET waterless urinal | 1980-1994 | 1.5 | gpf | 0.5 | gpf | 1 | gpf | 2 | times |  |  | 2 |  |  |  |  | 560 |  |  | Vickers, Amy. Handbook of Water Conservation.
CII | Urinal | HET waterless urinal | Pre-1980 | 5 | gpf | 0 | gpf | 5 | gpf | 2 | times |  |  | 10 |  |  |  |  | 2800 |  |  | Vickers, Amy. Handbook of Water Conservation.
Residential | Showerhead | Low-volume showerhead | 1980-1994 | 2.75 | gpm | 2.5 | gpm | 0.25 | gpm | 5.3 | min/day | 5.3 | min/day | 1.325 | 1.325 |  | 3.498 | 1276.77 | 371 | 371 |  | Vickers, Amy. Handbook of Water Conservation.
Residential | Showerhead | Low-volume showerhead | Pre-1980 | 5 | gpm | 2.5 | gpm | 2.5 | gpm | 5.3 | min/day | 5.3 | min/day | 13.25 | 13.25 |  | 34.98 | 12767.7 | 3710 | 3710 |  | Vickers, Amy. Handbook of Water Conservation.
Residential | Faucet | Low-volume faucet | 1980-1994 | 2.75 | gpm | 1.5 | gpm | 1.25 | gpm | 8.1 | min/day | 8.1 | min/day | 10.125 | 10.125 |  | 26.73 | 9756.45 | 2835 | 2835 |  | Vickers, Amy. Handbook of Water Conservation.
Residential | Faucet | Low-volume faucet | Pre-1980 | 3 | gpm | 1.5 | gpm | 1.5 | gpm | 8.1 | min/day | 8.1 | min/day | 12.15 | 12.15 |  | 32.076 | 11707.74 | 3402 | 3402 |  | Vickers, Amy. Handbook of Water Conservation.
Residential | Clothes washer | High-efficiency clothes washer | 1990-Present | 39 | gpl | 27 | gpl | 12 | gpl | 0.37 | loads/day | 0.37 | loads/day | 4.44 | 4.44 |  | 11.7216 | 4278.384 | 1243.2 | 1243.2 |  | Vickers, Amy. Handbook of Water Conservation.
Residential | Clothes washer | High-efficiency clothes washer | 1980-1990 | 51 | gpl | 27 | gpl | 24 | gpl | 0.37 | loads/day | 0.37 | loads/day | 8.88 | 8.88 |  | 23.4432 | 8556.768 | 2486.4 | 2486.4 |  | Vickers, Amy. Handbook of Water Conservation.
Residential | Clothes washer | High-efficiency clothes washer | Pre-1980 | 56 | gpl | 27 | gpl | 29 | gpl | 0.37 | loads/day | 0.37 | loads/day | 10.73 | 10.73 |  | 28.3272 | 10339.428 | 3004.4 | 3004.4 |  | Vickers, Amy. Handbook of Water Conservation.
Residential | Dishwasher | Water-efficient dishwasher | 1990-1995 | 9.5 | gpl | 7 | gpl | 2.5 | gpl | 0.1 | loads/day | 0.1 | loads/day | 0.25 | 0.25 |  | 0.66 | 240.9 | 70 | 70 |  | Vickers, Amy. Handbook of Water Conservation.
Residential | Dishwasher | Water-efficient dishwasher | 1980-1990 | 14 | gpl | 7 | gpl | 7 | gpl | 0.1 | loads/day | 0.1 | loads/day | 0.7 | 0.7 |  | 1.848 | 674.52 | 196 | 196 |  | Vickers, Amy. Handbook of Water Conservation.
Residential | Water Heater (centralized) | Hot Water On-Demand | [19 empty] | N/A
CII | Spray hose | Pre-rinse spray valve | [13 empty] | 137 |  |  |  |  | 50000 | CUWCC, 2005. BMP Cost & Savings Final Report Summary. http://www.cuwcc.org/Uploads/product/CPUC_Reports/CPUC_Phase_I_Final_Report_Feb-2005.pdf
CII | Steam Sterilizer | Mater-mizerTM (with recirculation) |  | 378 | gpc | 76 | gpc | 302 | gpc | [6 empty] | 5058.4959 |  |  |  |  | 1846351 | TDK Consulting Services. The Reduction in Water Consumption of Sterilier Equipment Resulting from the Installation of Water-MizerTM Systems. http://www.cuwcc.org/Health_Care/water_mizer_tech_eval_05-09-21.pdf
CII | Toilet - Automotive | ULFT | (Not noted in reference) |  |  |  |  | 36 | gpd | [11 empty] | 13140 | CUWCC, 2001. The CII ULFT Savings Study. Second Edition.
CII | Toilet - Food Store | ULFT | (Not noted in reference) |  |  |  |  | 48 | gpd | [11 empty] | 17520 | CUWCC, 2001. The CII ULFT Savings Study. Second Edition.
CII | Toilet - Health Care | ULFT | (Not noted in reference) |  |  |  |  | 21 | gpd | [11 empty] | 7665 | CUWCC, 2001. The CII ULFT Savings Study. Second Edition.
CII | Toilet - Hotel/Motel | ULFT | (Not noted in reference) |  |  |  |  | 16 | gpd | [11 empty] | 5840 | CUWCC, 2001. The CII ULFT Savings Study. Second Edition.
CII | Toilet - Manufacturing | ULFT | (Not noted in reference) |  |  |  |  | 23 | gpd | [11 empty] | 8395 | CUWCC, 2001. The CII ULFT Savings Study. Second Edition.
CII | Toilet - Miscellaneous | ULFT | (Not noted in reference) |  |  |  |  | 17 | gpd | [11 empty] | 6205 | CUWCC, 2001. The CII ULFT Savings Study. Second Edition.
CII | Toilet - Multiple Use | ULFT | (Not noted in reference) |  |  |  |  | 29 | gpd | [11 empty] | 10585 | CUWCC, 2001. The CII ULFT Savings Study. Second Edition.
CII | Toilet - Office | ULFT | (Not noted in reference) |  |  |  |  | 20 | gpd | [11 empty] | 7300 | CUWCC, 2001. The CII ULFT Savings Study. Second Edition.
CII | Toilet - Religious | ULFT | (Not noted in reference) |  |  |  |  | 28 | gpd | [11 empty] | 10220 | CUWCC, 2001. The CII ULFT Savings Study. Second Edition.
CII | Toilet - Restaurant | ULFT | (Not noted in reference) |  |  |  |  | 47 | gpd | [11 empty] | 17155 | CUWCC, 2001. The CII ULFT Savings Study. Second Edition.
CII | Toilet - Retail | ULFT | (Not noted in reference) |  |  |  |  | 37 | gpd | [11 empty] | 13505 | CUWCC, 2001. The CII ULFT Savings Study. Second Edition.
CII | Toilet - Wholesale | ULFT | (Not noted in reference) |  |  |  |  | 57 | gpd | [11 empty] | 20805 | CUWCC, 2001. The CII ULFT Savings Study. Second Edition.
aFor fixtures with a range of water use rates, the lowest rate was selected for use in this table (to provide a conservative estimate).
bBased on the average of 2.64 persons per occupied U.S. household
cBased on 260 annual workdays.
= does not apply

## Residential
Interior Water Conservation Measures and Associated Savings for Residential End Users
User Category | Fixture |  | Assumed Year of Manufacture for Non-efficient Fixture | Assumed Non-efficient Water Use Ratea |  | Water Efficient Use Rate |  | Water Savings per Device |  | Assumed Frequency of Daily Use |  | Estimated Water Savings per Person (gpd) | Estimated Daily Water Savings per Householdb (gpd) | Estimated Annual Water Savings per Householdb (gal/yr) | Reference
| Non-efficient | Efficent
Residential | Toilet | ULFT | 1980-1994 | 3.5 | gpf | 1.6 | gpf | 1.9 | gpf | 5.1 | times | 9.69 | 25.5816 | 9337.284 | Vickers, Amy. Handbook of Water Conservation.
Residential | Toilet | ULFT | 1950-1980 | 5 | gpf | 1.6 | gpf | 3.4 | gpf | 5.1 | times | 17.34 | 45.7776 | 16708.824 | Vickers, Amy. Handbook of Water Conservation.
Residential | Toilet | HET | 1980-1994 | 3.5 | gpf | 1.28 | gpf | 2.22 | gpf | 5.1 | times | 11.322 | 29.8901 | 10909.8792 | Vickers, Amy. Handbook of Water Conservation.
Residential | Toilet | HET | 1950-1980 | 5 | gpf | 1.28 | gpf | 3.72 | gpf | 5.1 | times | 18.972 | 50.0861 | 18281.4192 | Vickers, Amy. Handbook of Water Conservation.
Residential | Showerhead | Low-volume showerhead | 1980-1994 | 2.75 | gpm | 2.5 | gpm | 0.25 | gpm | 5.3 | min/day | 1.325 | 3.498 | 1276.77 | Vickers, Amy. Handbook of Water Conservation.
Residential | Showerhead | Low-volume showerhead | Pre-1980 | 5 | gpm | 2.5 | gpm | 2.5 | gpm | 5.3 | min/day | 13.25 | 34.98 | 12767.7 | Vickers, Amy. Handbook of Water Conservation.
Residential | Faucet | Low-volume faucet | 1980-1994 | 2.75 | gpm | 1.5 | gpm | 1.25 | gpm | 8.1 | min/day | 10.125 | 26.73 | 9756.45 | Vickers, Amy. Handbook of Water Conservation.
Residential | Faucet | Low-volume faucet | Pre-1980 | 3 | gpm | 1.5 | gpm | 1.5 | gpm | 8.1 | min/day | 12.15 | 32.076 | 11707.74 | Vickers, Amy. Handbook of Water Conservation.
Residential | Clothes washer | High-efficiency clothes washer | 1990-Present | 39 | gpl | 27 | gpl | 12 | gpl | 0.37 | loads/day | 4.44 | 11.7216 | 4278.384 | Vickers, Amy. Handbook of Water Conservation.
Residential | Clothes washer | High-efficiency clothes washer | 1980-1990 | 51 | gpl | 27 | gpl | 24 | gpl | 0.37 | loads/day | 8.88 | 23.4432 | 8556.768 | Vickers, Amy. Handbook of Water Conservation.
Residential | Clothes washer | High-efficiency clothes washer | Pre-1980 | 56 | gpl | 27 | gpl | 29 | gpl | 0.37 | loads/day | 10.73 | 28.3272 | 10339.428 | Vickers, Amy. Handbook of Water Conservation.
Residential | Dishwasher | Water-efficient dishwasher | 1990-1995 | 9.5 | gpl | 7 | gpl | 2.5 | gpl | 0.1 | loads/day | 0.25 | 0.66 | 240.9 | Vickers, Amy. Handbook of Water Conservation.
Residential | Dishwasher | Water-efficient dishwasher | 1980-1990 | 14 | gpl | 7 | gpl | 7 | gpl | 0.1 | loads/day | 0.7 | 1.848 | 674.52 | Vickers, Amy. Handbook of Water Conservation.
aFor fixtures with a range of water use rates, the lowest rate was selected for use in this table (to provide a conservative estimate).
bBased on the average of 2.64 persons per occupied U.S. household
cBased on 260 annual workdays.
= does not apply

## CII
Interior Water Conservation Measures and Associated Savings for CII End Users
User Category | Fixture |  | Assumed Year of Manufacture for Non-efficient Fixture | Assumed Non-efficient Water Use Ratea |  | Water Efficient Use Rate |  | Water Savings per Device |  | Assumed Frequency of Daily Use |  |  |  | Estimated Water Savings per Person (gpd) |  | Estimated Water Savings per CII facility (gpd) | Estimated Annual Water Savings per Male CII Employeec (gal/yr) | Estimated Annual Water Savings per Female CII Employeec (gal/yr) | Estimated Annual Water Savings per CII facility (gal/yr) | Reference
| Non-efficient | Efficent | [7 empty] | per Male |  | per Female |  | per Male | per Female
CII | Toilet | ULFT | 1980-1994 | 3.5 | gpf | 1.6 | gpf | 1.9 | gpf | 1 | times | 3 | times | 1.9 | 5.7 |  | 532 | 1596 |  | Vickers, Amy. Handbook of Water Conservation.
CII | Toilet | ULFT | 1950-1980 | 5 | gpf | 1.6 | gpf | 3.4 | gpf | 1 | times | 3 | times | 3.4 | 10.2 |  | 952 | 2856 |  | Vickers, Amy. Handbook of Water Conservation.
CII | Toilet | HET | 1980-1994 | 3.5 | gpf | 1.28 | gpf | 2.22 | gpf | 1 | times | 3 | times | 2.22 | 6.66 |  | 621.6 | 1864.8 |  | Vickers, Amy. Handbook of Water Conservation.
CII | Toilet | HET | 1950-1980 | 5 | gpf | 1.28 | gpf | 3.72 | gpf | 1 | times | 3 | times | 3.72 | 11.16 |  | 1041.6 | 3124.8 |  | Vickers, Amy. Handbook of Water Conservation.
CII | Urinal | HET urinal - 0.5 gpf | 1980-1994 | 1.5 | gpf | 0.5 | gpf | 1 | gpf | 2 | times |  |  | 2 |  |  | 560 |  |  | Vickers, Amy. Handbook of Water Conservation.
CII | Urinal | HET urinal - 0.5 gpf | Pre-1980 | 5 | gpf | 0 | gpf | 5 | gpf | 2 | times |  |  | 10 |  |  | 2800 |  |  | Vickers, Amy. Handbook of Water Conservation.
CII | Urinal | HET waterless urinal | 1980-1994 | 1.5 | gpf | 0.5 | gpf | 1 | gpf | 2 | times |  |  | 2 |  |  | 560 |  |  | Vickers, Amy. Handbook of Water Conservation.
CII | Urinal | HET waterless urinal | Pre-1980 | 5 | gpf | 0 | gpf | 5 | gpf | 2 | times |  |  | 10 |  |  | 2800 |  |  | Vickers, Amy. Handbook of Water Conservation.
CII | Spray hose | Pre-rinse spray valve | [13 empty] | 137 |  |  | 50000 | CUWCC, 2005. BMP Cost & Savings Final Report Summary. http://www.cuwcc.org/Uploads/product/CPUC_Reports/CPUC_Phase_I_Final_Report_Feb-2005.pdf
CII | Steam Sterilizer | Mater-mizerTM (with recirculation) |  | 378 | gpc | 76 | gpc | 302 | gpc | [6 empty] | 5058.4959 |  |  | 1846351 | TDK Consulting Services. The Reduction in Water Consumption of Sterilier Equipment Resulting from the Installation of Water-MizerTM Systems. http://www.cuwcc.org/Health_Care/water_mizer_tech_eval_05-09-21.pdf
CII | Toilet - Automotive | ULFT | (Not noted in reference) |  |  |  |  | 36 | gpd | [9 empty] | 13140 | CUWCC, 2001. The CII ULFT Savings Study. Second Edition.
CII | Toilet - Food Store | ULFT | (Not noted in reference) |  |  |  |  | 48 | gpd | [9 empty] | 17520 | CUWCC, 2001. The CII ULFT Savings Study. Second Edition.
CII | Toilet - Health Care | ULFT | (Not noted in reference) |  |  |  |  | 21 | gpd | [9 empty] | 7665 | CUWCC, 2001. The CII ULFT Savings Study. Second Edition.
CII | Toilet - Hotel/Motel | ULFT | (Not noted in reference) |  |  |  |  | 16 | gpd | [9 empty] | 5840 | CUWCC, 2001. The CII ULFT Savings Study. Second Edition.
CII | Toilet - Manufacturing | ULFT | (Not noted in reference) |  |  |  |  | 23 | gpd | [9 empty] | 8395 | CUWCC, 2001. The CII ULFT Savings Study. Second Edition.
CII | Toilet - Miscellaneous | ULFT | (Not noted in reference) |  |  |  |  | 17 | gpd | [9 empty] | 6205 | CUWCC, 2001. The CII ULFT Savings Study. Second Edition.
CII | Toilet - Multiple Use | ULFT | (Not noted in reference) |  |  |  |  | 29 | gpd | [9 empty] | 10585 | CUWCC, 2001. The CII ULFT Savings Study. Second Edition.
CII | Toilet - Office | ULFT | (Not noted in reference) |  |  |  |  | 20 | gpd | [9 empty] | 7300 | CUWCC, 2001. The CII ULFT Savings Study. Second Edition.
CII | Toilet - Religious | ULFT | (Not noted in reference) |  |  |  |  | 28 | gpd | [9 empty] | 10220 | CUWCC, 2001. The CII ULFT Savings Study. Second Edition.
CII | Toilet - Restaurant | ULFT | (Not noted in reference) |  |  |  |  | 47 | gpd | [9 empty] | 17155 | CUWCC, 2001. The CII ULFT Savings Study. Second Edition.
CII | Toilet - Retail | ULFT | (Not noted in reference) |  |  |  |  | 37 | gpd | [9 empty] | 13505 | CUWCC, 2001. The CII ULFT Savings Study. Second Edition.
CII | Toilet - Wholesale | ULFT | (Not noted in reference) |  |  |  |  | 57 | gpd | [9 empty] | 20805 | CUWCC, 2001. The CII ULFT Savings Study. Second Edition.
aFor fixtures with a range of water use rates, the lowest rate was selected for use in this table (to provide a conservative estimate).
bBased on the average of 2.64 persons per occupied U.S. household
cBased on 260 annual workdays.
= does not apply